NEWS RELEASE

DRINKING WATER NOTICE

The five Public Water Systems (PWS) are affected:

OH6700003 Aurora City PWS -  Portage PWS, OH6705003 - Streetsboro PWS, OH6700512- Aqua Aurora PWS, OH6705212- Aqua Beechcrest PWS, OH6702812 - Portage County Water Resources PWS

Failure to Comply with the Requirements for Corrosion Treatment

Portage County Water Resources

We are required to monitor your drinking water for specific parameters on a regular basis.  Results of regular monitoring are an indicator of whether or not our drinking water meets health standards.  We are required to maintain a minimum orthophosphate level of 1.5 mg/L to ensure optimal corrosion control is provided.  For the period of November and December 2017, we did not maintain the required orthophosphate level, and therefore cannot be sure that optimal corrosion control was provided.

What Should I Do?

There is nothing you need to do at this time.  You do not need to boil your water or take other corrective action.

What is being done?

Upon being notified of this violation, the water supply was required to have the drinking water analyzed for the above-mentioned parameters.  The water supplier will take steps to ensure that adequate monitoring will be performed in the future.

For more information, please contact Don Macko 330-697-0355 or Lee Benson 330-607-1406.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.